## Template
name | latitude | longitude | analysis_type | racking | gcr | dc_capacity_mw | ac_capacity_mw | module | inverter | tilt | azimuth | bifacial | buildable_acres | utilization_factor | gcr_min | gcr_max | dcac_min | dcac_max | solar_cost_per_kw_dc | solar_opex_per_kw_dc_year | discount_rate_pct | project_lifetime_years | degradation_pct | itc_pct | energy_price_per_kwh | energy_cost_escalator_pct | dispatch_mode | charging_mode | bess_cost_per_kwh | bess_opex_per_kw_year | shading_pct | dc_wiring_pct | ac_wiring_pct | transformer_pct | availability_pct | mismatch_pct | lid_pct | soiling_pct
* Site name (unique identifier) | * Latitude (-90 to 90) | * Longitude (-180 to 180) | * buildability ¦ production ¦ optimization ¦ optimization_bess | fixed ¦ tracker (default: tracker) | Ground coverage ratio 0-1 (production only) | DC nameplate capacity in MW (production only) | AC inverter capacity in MW (production only) | Exact CEC module name (default: LONGi LR5-72HBD-550M) | Exact CEC inverter name (default: Sungrow SG250HX-US [800V]) | Tilt angle 0-90 (default: 60 tracker, 25 fixed) | Azimuth 0-360 (default: 180 = south) | TRUE or FALSE (default: FALSE) | Buildable land area in acres (optimization only) | Land utilization 0-1 (default: 0.85) | GCR sweep minimum (optimization only) | GCR sweep maximum (optimization only) | DC:AC ratio sweep minimum (default: 1.15) | DC:AC ratio sweep maximum (default: 1.60) | Solar installed cost $/kW-DC | Solar O&M $/kW-DC/year | Discount rate % | Project lifetime in years | Annual degradation % (default: 0.5) | Investment tax credit % | Energy price $/kWh (for NPV mode) | Annual energy price escalation % | ftm (front-of-meter only in batch v1) | solar_and_grid ¦ solar_only (default: solar_and_grid) | BESS installed cost $/kWh | BESS O&M $/kW/year | Shading loss % (default: 0.0) | DC wiring loss % (default: 2.0) | AC wiring loss % (default: 0.5) | Transformer loss % (default: 1.0) | Availability loss % (default: 2.5) | Module mismatch % (default: 2.0) | Light-induced degradation % (default: 1.5) | Soiling loss % (default: 2.0)
Phoenix South | 33.45 | -112.07 | buildability
Denver East | 39.74 | -104.99 | production | tracker | 0.4 | 5 | 4
Austin West | 30.27 | -97.74 | optimization | [9 empty] | 50
PJM Site Alpha | 39.95 | -75.16 | optimization_bess | [9 empty] | 80 | [13 empty] | ftm

## Instructions
BATCH TEMPLATE INSTRUCTIONS
OVERVIEW
--------
Fill in the "Template" sheet with up to 25 sites. Each row is one analysis.
Upload the completed file (CSV or Excel) to run all analyses in a single batch.
ANALYSIS TYPES
--------------
Each row must have an analysis_type. Required fields vary by type:
buildability
Required: name, latitude, longitude
All other fields are ignored.
production
Required: name, latitude, longitude, racking, gcr, dc_capacity_mw, ac_capacity_mw
Optional: module, inverter, tilt, azimuth, bifacial, loss parameters
optimization
Required: name, latitude, longitude, buildable_acres
Optional: racking, module, inverter, gcr_min, gcr_max, dcac_min, dcac_max,
utilization_factor, economic parameters (for LCOE/NPV mode)
optimization_bess
Required: name, latitude, longitude, buildable_acres, dispatch_mode
Optional: Same as optimization, plus charging_mode, bess_cost_per_kwh,
bess_opex_per_kw_year
EQUIPMENT DEFAULTS
------------------
If module or inverter is left blank, the system uses:
Module: LONGi Green Energy Technology Co. Ltd. LR5-72HBD-550M
Inverter: Sungrow Power Supply Co - Ltd : SG250HX-US [800V]
Use the equipment search endpoint or chat to find exact CEC names.
LOSS PARAMETER DEFAULTS
------------------------
If any loss field is left blank, these defaults apply:
shading_pct: 0.0
dc_wiring_pct: 2.0
ac_wiring_pct: 0.5
transformer_pct: 1.0
degradation_pct: 0.5
availability_pct: 2.5
mismatch_pct: 2.0
lid_pct: 1.5
soiling_pct: 2.0
LIMITS
------
- Maximum 25 rows per batch.
- Site names must be unique within the batch.
BESS NOTE
---------
Batch v1 supports front-of-meter (FTM) BESS dispatch only.
Behind-the-meter (BTM) is not supported in batch mode because it requires
per-site rate schedules and load profiles that cannot be specified in a
flat table.
FILE FORMAT
-----------
Both CSV (.csv) and Excel (.xlsx) uploads are accepted.
CSV files should use the same column headers as the Template sheet.